## Start Here
FREE CONSTRUCTION QUANTITY TAKEOFF TEMPLATE
A no-email Excel workbook for count, length, area, and volume takeoffs. Use the blank sheet for your project and the worked sheet to inspect the formula pattern.
What this workbook does
It keeps plan reference, location, scope description, visible dimensions, quantity type, waste factor, measured quantity, order quantity, assumptions, and review state together. The formulas intentionally keep unlike units separate.
Five-step method
| 1 | Confirm the source | Record the current sheet, revision, scale, and location.
| 2 | Choose the quantity type | Use Count, Length, Area, or Volume. Do not mix unlike units.
| 3 | Show the dimensions | Enter count and the dimensions that support the result.
| 4 | Separate waste | Apply a labeled material factor after the measured quantity.
| 5 | Review the handoff | Check scope, packaging, pricing, and field conditions before use.
Formula map
| Quantity type | Formula |  | Unit
| Count | count |  | EA
| Length | count × length |  | LF
| Area | count × length × width |  | SF
| Volume | count × length × width × height/depth ÷ 27 |  | CY
Before anyone prices the quantity
| □ | Current revision and addenda checked
| □ | Scale or known dimension verified
| □ | Scope classified as included, excluded, alternate, allowance, or uncertain
| □ | Gross measures and explicit deductions shown
| □ | Waste, laps, cuts, yield, and stock rounding kept distinct
| □ | Field-verification responsibility assigned
Free source and complete workflow
Open the free browser quantity sheet
Construction takeoff and estimating software for Windows. $79 once. No subscription.
Watch the actual Takeoff Field Tools workflow
Planning aid only. This workbook does not read plans, detect scope, correct perspective or drawing errors, select assemblies, specify products, establish code compliance, round to supplier packaging, or verify field conditions. Confirm the source, dimensions, scope, material factors, prices, and procurement requirements before bidding or building.

## Blank Takeoff
CONSTRUCTION QUANTITY TAKEOFF
Yellow cells are inputs. Green cells calculate automatically. Keep the source, formula, waste factor, and review state beside every quantity.
Project |  |  |  | Drawing revision |  |  |  | Prepared by |  |  |  | Takeoff date
Formula map: Count = count. Length = count × length. Area = count × length × width. Volume = count × length × width × height/depth ÷ 27. Waste is applied after measurement.
# | Plan ref | Location | Scope description | Quantity type | Count / multiplier | Length FT | Width FT | Height / depth FT | Waste % | Unit | Measured qty | Order qty | Assumptions / notes | Review state
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
WASTE-ADJUSTED TOTALS BY UNIT | [7 empty] | EA | 0 | LF | 0 | SF | 0 | CY | 0
Review boundary: This workbook organizes quantities; it does not read plans, determine scope, correct source geometry, select products, establish code compliance, round to supplier packaging, or verify field conditions. Confirm current drawings, dimensions, inclusions, exclusions, material factors, procurement requirements, and final pricing before bidding or building.

## Worked Example
CONSTRUCTION QUANTITY TAKEOFF
Worked example using the Riverside service-yard practice plan. Values are controlled teaching data, not a complete bid.
Project | Riverside service yard - example |  |  | Drawing revision | C1.01 |  |  | Prepared by | Training example |  |  | Takeoff date | 2026-07-29
Formula map: Count = count. Length = count × length. Area = count × length × width. Volume = count × length × width × height/depth ÷ 27. Waste is applied after measurement.
# | Plan ref | Location | Scope description | Quantity type | Count / multiplier | Length FT | Width FT | Height / depth FT | Waste % | Unit | Measured qty | Order qty | Assumptions / notes | Review state
1 | C1.01 | Service yard | Six-inch service-yard slab area | Area | 1 | 60 | 40 |  | 0 | SF | 2400 | 2400 | Measured plan dimensions | Reviewed
2 | C1.01 | Service yard | Six-inch slab concrete | Volume | 1 | 60 | 40 | 0.5 | 7 | CY | 44.4444 | 47.5555 | 0.5 FT depth; example material factor | Reviewed
3 | C1.01 | Slab perimeter | Slab edge forms | Length | 1 | 200 |  |  | 0 | LF | 200 | 200 | Measured perimeter | Reviewed
4 | C1.01 | Equipment pads | Housekeeping pads | Count | 6 |  |  |  | 0 | EA | 6 | 6 | Six plan symbols | Reviewed
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
WASTE-ADJUSTED TOTALS BY UNIT | [7 empty] | EA | 6 | LF | 200 | SF | 2400 | CY | 47.5555
Review boundary: This workbook organizes quantities; it does not read plans, determine scope, correct source geometry, select products, establish code compliance, round to supplier packaging, or verify field conditions. Confirm current drawings, dimensions, inclusions, exclusions, material factors, procurement requirements, and final pricing before bidding or building.

## Review Checklist
QUANTITY TAKEOFF REVIEW CHECKLIST
Use this before measured quantities enter pricing, procurement, or a customer-facing scope.
# | Review point | What to verify | Status | Notes / owner
1 | Source control | Current drawing, revision, addenda, and governing detail are identified. | Pending
2 | Scale | A stated dimension or dependable reference confirms the measurement scale. | Pending
3 | Quantity model | Count, length, area, or volume matches the physical work being measured. | Pending
4 | Scope | Inclusions, exclusions, alternates, allowances, and uncertain work are explicit. | Pending
5 | Deductions | Gross measure, openings, deductions, and net quantity remain visible. | Pending
6 | Material factor | Waste, laps, cuts, compaction, yield, and stock rounding are not conflated. | Pending
7 | Units | EA, LF, SF, and CY totals remain separate and match downstream pricing units. | Pending
8 | Field verification | Unknown dimensions, hidden conditions, products, and site constraints have owners. | Pending
9 | Handoff | Another person can trace the quantity to its source and understand the assumptions. | Pending
10 | Final review | Packaging, supplier inputs, labor, equipment, taxes, terms, and price are reviewed separately. | Pending

## _Lists (hidden)
Count | Pending
Length | Reviewed
Area | N/A
Volume